## Slide 1: DEVELOPMENT OF INTEGRATED WEARABLE DEVICE FOR REMOTE MONITORING OF PREGNANT WOMEN IN GHANA
UNIVERSITY OF GHANA
Group Members
Owoh Einsteina Ofunne - 10943874
Anane George Nyarko – 10947340
Adika Nathaniel - 10957036
DATE: 13th December,2024
Project Supervisor
Dr. Godfrey Mills
Co-Supervisor
Prof. Elsie Effah Kaufmann

## Slide 2: COLLABORATORS
Nathaniel

## Slide 3: OUTLINE
INTRODUCTION
PROBLEM DEFINITION
OBJECTIVES
EXISTING SOLUTIONS
PROPOSED SOLUTION
METHODOLOGY
SYSTEM REQUIREMENTS
EXPECTED OUTCOME
PROJECT RELEVANCE
PROJECT TIMELINES
CONCLUSION
REFERNCES

## Slide 4: INTRODUCTION
Pregnant women are monitored to detect and prevent maternal or fetal complications.
Monitoring of pregnant women is a critical thing that needs to be carefully handled, otherwise it will lead to loss of mother or baby.
They are typically monitored for vital signs like; body temperature, blood pressure, heart rate, blood glucose levels and oxygen saturation which help in assessing the health of both mother and baby.

## Slide 5: INTRODUCTION
Body Temperature: Detects fever or infections that could harm both mother and fetus.
Blood Pressure: Monitors for hypertension disorders like preeclampsia to prevent complications.
Oxygen Saturation: Tracks oxygen levels to prevent anemia and maternal respiratory issues.
Heart Rate: Assesses cardiovascular health to ensure the heart is coping with pregnancy demands.
Blood Glucose Level: Identifies gestational diabetes to manage risks for mother and baby.

## Slide 6: INTRODUCTION
Neglecting monitoring can lead to cases such as; preeclampsia, anemia, low birth weight and developmental delays and ultimately lead to death.
Traditionally, pregnant women are monitored through regular antenatal visits with modern methods now incorporating remote technologies like wearable devices for convenience and enhanced data accuracy.

## Slide 7: PROBLEM DEFINITION
In Ghana, 12% of female deaths (ages 15-49) in the previous 5 years stem from pregnancy complications, with 62% due to late or poor medical intervention.
Unavailability of a real-time monitoring system for pregnant women increases maternal health risks.
Late detection of pregnancy complications such as preeclampsia and anemia lowers chances of survival of pregnant women.

## Slide 8: OBJECTIVES
To develop a wearable-device to continuously track health status of pregnant women.
To develop a mobile-app for data-analytics of monitored physiological biomarkers.
To train an AI model for early detection and risk prediction of pregnancy complications like preeclampsia and anemia long before standard detection window.

## Slide 9: EXISTING WORKS
TITLE : A Comprehensive Framework for Wearable Module for Prenatal Health Monitoring and Risk Detection(2024) [1]
GOAL : A system to continuously monitor health of pregnant women throughout pregnancy and send SMS to healthcare providers in event of any anomaly in vitals measured or a fall.

## Slide 10: EXISTING WORKS
METHODOLOGY :
  The system monitors temperature (DS18B20 sensor on the underarm), heart rate, and oxygen saturation (MAX30100 sensor on the fingers), blood glucose (NIR 940nm LED and photodetector on the fingers), and blood pressure (wrist-mounted device with EEPROM3). Fall detection (MPU6050) and fetal kick monitoring (ADXL335) are achieved using waist-mounted sensors.
  The ESP-32s microcontroller collects data from all sensors and transmits it to the cloud via Wi-Fi every 30 seconds for continuous monitoring.

## Slide 11: EXISTING WORKS
  A database-backed mobile and web app is used to store, display, and analyze historical data, enabling doctors to monitor patient trends effectively.

## Slide 12: EXISTING WORKS
RESULTS :
  System tested by 4 volunteers:
  Commercially available devices (thermometer, pulse oximeter, blood pressure machine, blood glucose monitor) were used as reference standards.
  Fall Detection was detected based on abrupt changes in acceleration values.
  Fetal Movement was monitored via noticeable shifts in sensor readings.

## Slide 13: EXISTING WORKS
  Accuracy of Measured Vitals:
    Temperature: MSE of 0.0035.
    Oxygen Saturation & Heart Rate: MSE of 1.1 and 2.45, respectively.
    Blood Pressure: MAPE of 4.54% (systolic) and 5.43% (diastolic).
    Blood Glucose Level: MAPE of 4.77%

## Slide 14: EXISTING WORKS
STRENGTHS: The values obtained from the wearable device compared to commercial devices goes to show the high level of accuracy of the system.
GAP : No mechanism for predictive analysis of patient's vitals to forewarn a risk of complication or possible illness of mother.

## Slide 15: EXISTING WORKS
TITLE : Wearable Technology Model to Control and Monitor Hypertension during Pregnancy(2024) [3]
GOAL: A system to control and monitor Preeclampsia where a wearable captures blood pressure, heart rate and patient steps and an alert is sent to both health care providers and patient in event of high blood pressure.

## Slide 16: EXISTING WORKS
METHODOLOGY :
  The "V07" wearable, compatible with Android and iOS, connects to a smartphone via Bluetooth to transfer data (blood pressure, heart rate, and patient steps) to a mobile app. Data is cleared from the wearable's memory once transferred. If the phone is disconnected, data is stored temporarily on the wearable until the connection is restored.
  Data is uploaded to the SAP HANA cloud platform every 30 minutes, enabling both the doctor and the expectant mother to access health information through the mobile app.

## Slide 17: EXISTING WORKS
  The app provides real-time health monitoring, medicine reminders, and treatment updates. Alerts with location details (via Google Maps) are sent to health organizations and patients during incidents of high blood pressure

## Slide 18: EXISTING WORKS
RESULTS :
  The system, validated at EsSalud in Lima, monitored 20 pregnant women (3–9 months gestation) during October–December 2017. It identified 70% with abnormal health parameters, highlighting critical alerts for high blood pressure and heart rate, particularly around the 30th week of pregnancy.
  The system increased controlled cases by 11% and reduced maternal mortality by 7%, enabling timely treatment and care for high-risk patients.

## Slide 19: EXISTING WORKS
STRENGTHS: There is analysis of data collected to help deploy new strategies to monitor and treat patients effectively.
GAP : Data Security measures are not implemented.

## Slide 20: EXISTING WORKS
TITLE :Health Monitoring Of Expecting Mothers Using Multiple Sensor Approach: "Preg Care" (2020) [6]
GOAL : A system comprising numerous sensors to provide complete health monitoring during the pregnancy period.

## Slide 21: EXISTING WORKS
METHODOLOGY :
  Device monitors heart rate, body temperature, blood glucose, oxygen saturation, anemia status, and detects sudden falls using sensors like MAX30100, MLX90614, NIR LED-Photodetector, and ADXL345.
  Data is processed by an Arduino microcontroller and transmitted via WIFI, GSM, and Wemos D1 Mini to a ThingSpeak cloud server
  Health data is accessible through SMS and the mobile app "Preg-Care", enabling real-time decision-making by doctors and relatives.

## Slide 22: EXISTING WORKS
  Python-based image processing algorithm analyzes eye pallor images to detect anemia.
  Dataset: 109 images (81 for training, 28 for testing).
  Models tested: Decision Tree, Random Forest, SVM, Logistic Regression, Naïve Bayes, and KNN using Orange data mining software.
  Heltec ESP32 OLED and GSM modules upload vital stats to the cloud, ensuring remote monitoring and emergency notifications.

## Slide 23: EXISTING WORKS
RESULTS :
  Decision Tree achieved the highest accuracy (0.821) with an AUC of 0.824.
  Logistic Regression delivered the highest AUC (0.872), despite lower accuracy (0.714).
  Random Forest and SVM showed competitive AUC values (0.853 and 0.840) but fell short in accuracy compared to the Decision Tree.
  Naïve Bayes and KNN exhibited the lowest overall performance in both metrics
  Decision Tree was chosen for the classification.

## Slide 24: EXISTING WORKS
STRENGTHS:
  Application of image processing and machine learning to predict anemic status of patient.
  Highly applicable to rural-settings

## Slide 25: EXISTING WORKS
GAPS :
  Manual Imputation of Blood Pressure value into the app.
  ThingSpeak Server provides less data security.
  Accuracy of components was not checked for as no gold standard measurement were done.
  No predictive mechanism to forewarn of potential health issues of pregnant woman.

## Slide 26: EXISTING WORKS
TITLE :Explainable Early Prediction of Gestational Diabetes Biomarkers by Combining Medical Background and Wearable Devices: A Pilot Study With a Cohort Group in South Africa(2024) [5]
GOAL : A system that forecasts biomarkers such as LDL, HDL, triglycerides, cholesterol, HbA1c(biomarker values)13 to 16 weeks prior to the Gestational Diabetes Mellitus(GDM) screening test.

## Slide 27: EXISTING WORKS
METHODOLOGY :
  Pregnant women (12–14 weeks) with high GDM risk factors were recruited from Chris Hani Baragwanath Teaching Hospital. Data included continuous glucose monitoring (Freestyle Libre 2), physical activity (Empatica E4), medical history, BMI, and biomarkers. Controlled activity recordings and surveys were conducted using validated tools.
  Continuous glucose readings (15-minute intervals) and activity data (64 Hz sampling) were collected over 14–28 days. Feature extraction and aggregation were applied, focusing on daily activities. Coupled-Matrix and Tensor Factorisation-Alternating Least Squares were used for data fusion

## Slide 28: EXISTING WORKS
  Decision Tree and Random Forest regression models were trained on baseline data (weeks 12–14) to estimate biomarker values at weeks 25–28, aiding in early GDM risk prediction

## Slide 29: EXISTING WORKS
RESULTS :
  Prediction Performance for HbA1c and OGTT Biomarkers:
    Decision Tree (DT) for HbA1c: 0.34 (±0.06) MSE, 0.44 (±0.04) MAE.
    Random Forest (RF) for HbA1c: 0.36 (±0.09) MSE, 0.43 (±0.04) MAE
    CMTF-ALS for OGTT: 0.36 (±0.22) MSE, 0.43 (±0.12) MAE
  Biomarker Analysis Results:
    LDL: 0.29 MSE, 0.43 MAE
    HDL: 0.32 MSE, 0.41 MAE.

## Slide 30: EXISTING WORKS
    HDL: 0.32 MSE, 0.41 MAE.
    Triglycerides: 0.34 MSE, 0.43 MAE
    Cholesterol: 0.33 MSE, 0.44 MAE
  Glucose and HbA1c Predictions:
    1-hour Post-Load Glucose: 0.95 MSE, 0.70 MAE
    2-hour Post-Load Glucose: 1.08 MSE, 0.72 MAE.
    Fasting Glucose: 2.44 (±4.28) MSE, 0.91 (±0.86) MAE.
    HbA1c: 0.42 MSE, 0.45 MAE.

## Slide 31: EXISTING WORKS
STRENGTHS: This is the first GDM study attempting to forecast biomarker values associated with the presence of GDM 13 to 16 weeks prior to the GDM screening test.
GAP : No mechanism for analytics of captured data

## Slide 32: PROPOSED SOLUTION
METHODOLOGY :
  Physiological biomarkers are continuously monitored using a wearable device placed on the wrist of the pregnant woman.
  The vitals to be measured include:
    Blood Glucose Level
    Blood Pressure
    Body Temperature
    Heart Rate

## Slide 33: PROPOSED SOLUTION
    Oxygen Saturation
  The captured data is sent to a cloud server every 3 minutes.
  The wearable device is administered from a hospital at onset of pregnancy such that the pregnant woman can be monitored even at home.
  If anomaly is detected in recorded biomarkers, an AI model predicts possible pregnancy complications such as preeclampsia, anemia in pregnancy and gestational diabetes.
  This prediction is done weeks ahead of the standard detection window.

## Slide 34: PROPOSED SOLUTION
  Data details are sent to the medical officer and the pregnant woman immediately.
  A notification is sent to smartphone of pregnant woman to seek medical attention as soon as possible to initiate treatment.
  Either the doctor or pregnant woman can schedule a medical appointment.
  If no anomalies in vitals are identified, wellness tips are sent to the pregnant woman to maintain her good health status.
  The mobile app performs data analytics to identify trends and draw insights from captured physiological data.
  The data analyzed are displayed to the pregnant woman and the medical officer.

## Slide 35: PROPOSED SOLUTION
FLOW DIAGRAM OF SYSTEM:

## Slide 36: PROPOSED SOLUTION

## Slide 37: FUNCTIONAL REQUIREMENTS
Continuous tracking and recording of physiological biomarkers such as heart rate, blood pressure, blood glucose level, heart rate and oxygen saturation.
Real-Time Data Transmission to a mobile application
Display of monitored data, trend analysis and alerts for abnormal readings.
Prediction of possible pregnancy complications such as preeclampsia, anemia and GDM weeks ahead of standard detection window.
Patient-Doctor appointment Booking

## Slide 38: NON-FUNCTIONAL REQUIREMENTS
Data Security and healthcare regulations compliance
User-friendly and intuitive mobile interface
Low latency between wearable device, cloud and mobile application
Cross-platform support on the mobile app
Scalability to accommodate a growing user base

## Slide 39: PROJECT TIMELINE

## Slide 40: EXPECTED OUTCOMES

## Slide 41: RELEVANCE OF PROJECT

## Slide 42: CONCLUSION

## Slide 43: REFERENCES
[1] T. Tabassum, S. Podder, and S. T. S. Rafid, "A Comprehensive Framework for Wearable Module for Prenatal Health Monitoring and Risk Detection," IEEE Int. Conf. Women Innov., Technol. Entrepreneurship (ICWITE), pp. 283-288, 2024.
[2] Y. K. Wiafe, A. Asamoah, P. Akweongo, and A. Kumah, "Factors Affecting Pregnancy Complications in Ghana," Global J. Quality Safety Healthcare, vol. 7, no. 4, pp. 156-161, 2024.
[3] B. D. B. Lopez, J. A. A. Aguirre, D. A. R. Coronado, and P. A. Gonzalez, "Wearable technology model to control and monitor hypertension during pregnancy," Proc. IEEE, Lima, Peru, 2017.

## Slide 44: REFERENCES
[4] F. Sarhaddi, I. Azimi, S. Labbaf, H. Niela-Vilén, N. Dutt, A. Axelin, P. Liljeberg, and A. M. Rahmani, "Long-Term IoT-Based Maternal Monitoring: System Design and Evaluation," Sensors, vol. 21, no. 7, p. 2281,2021.
[5]A. F. Hernández-Castañeda, R. Pardo-Gómez, M. Sierra-Sosa, and A. García-Ramos, "Explainable Early Prediction of Gestational Diabetes Biomarkers by Combining Medical Background and Wearable Devices: A Pilot Study With a Cohort Group," Sensors, vol. 22, no. 15, p. 5793, 2022
[6] A. Kumar, D. Sharma, and V. Gupta, "Health Monitoring of Expecting Mothers using Multiple Sensor Approach: 'Preg Care'," in Proceedings of the 2nd International Conference on Advanced Information and Communication Technology (ICAICT), 2020, pp. 77-82

## Slide 45: MISCELLANEOUS
QUESTIONS/FEEDBACK